Labelling microscope parts

- Using the list of words below, label the microscope parts labelled (a) to (h). (Note that some of the words listed below are not used.)

| stage | eye piece lens | base |
| --- | --- | --- |
| barrel | coarse focus adjustment | diaphragm |
| arm | fine focus adjustment | high power lens |
| clips | light source | low power lens |

2. Explain the function of the following numbered parts of the microscope.

| Part | Function |
| --- | --- |
| (b) |  |
| (e) |  |
| (f) |  |
| (h) |  |

Labelling microscope parts – answers

Labelled parts

(a)	eye piece lens

(b) 	coarse focus adjustment

(c)	fine focus adjustment

(d)	base

(e) 	high power objective

(f)	stage

(g)	diaphragm

(h)	light source

Functions of labelled parts

(b) 	Coarse focus adjustment – to move the lens up or down, to adjust focus, to focus

(e) 	High power objective – for magnification

(f) 	Stage – where the slide is held/placed

(h) 	Light source – sends light onto the specimen/slide